Software Installation  (win 7 32bit)

1,  Copy the content from the CD to F Disk ( or some other  disk ),  as it shows below :

Pasted into F stick as below :

Connect the device to the computer with USB cable , on the right corner of the computer , you will see the the below message , it means you need to install the USB driver manually

Right click Computer----properties------Device Manager , you will see below picture :

You  can see a yellow mark in this picture , and right click it , enter the following picture:

This step is very important :

The directory chose here is the same director as the first step .  And press "Next"

The driver  is installing now :

USB driver successfully installed on the computer :

Go back to device manager , you will find a mark that indicates the USB driver is upgraded now :

Below is the instruction of how to use the software

1,Open the directory where you put all the contents from the CD.

find Sound Link.exe, and double click it .

"USB Connect " on the left corner indicates that the device is connected with computer .

Record button is showing on the below picture :

Save the file to excel or txt format , press Yes , on the below picture

It is saving the file now , make sure your computer is under Windows Media players setting . Or the file saving can be failed .

If the file is saved successfully , then you can open and check it with correct software .

Press "open file " to open the desired file

Curve display :

Digital display

About the instrument itself automatically shutdown and do not  shutdown function.
Automatic shutdown:

Use the battery, the default press the power button, about two and a half minutes the instrument will enter the automatic shutdown.
How to set the instrument does not shut down:
1.USB direct power supply will not shut down
2 Use battery, long press (about 5 seconds)  the power button until the LCD screen automatically flashes, release the power button, the instrument entered does not shut down, have to shut down, then press the Power  button can shut down.

If you accidentally formatted SD card.You can reformat the SD card, but pay attention to the following points:
Format, please note:
File System: FAT32
Allocation unit size: Default configuration size.

Or you can not save the digital to the SD card.